# Pre-outbreak planning - training and safety

Individuals taking samples should have received training in risk assessment and control of Legionella.

## Sampler training should include:

- Basic microbiological sampling - aseptic technique

- Knowledge of the ecology of the organisms and factors affecting its occurrence (see Developing Understanding)

- Knowledge of risk assessment

- Labelling and record keeping

- Legal requirements - continuity of evidence

- Knowledge of where to sample and correct bottle to use

- Be well practised in coordination with laboratory

- If possible, keep a set of sampling equipment and materials ready for outbreak investigations

## Safety aspects

- Take precautions to minimise exposure

  - Minimise aerosol formation

  - Avoid exposure to aerosols

    - Run taps gently

    - Don't operate sprays and showers

    - Switch off cooling tower circulation etc

- In outbreak investigations

  - Sampler should not be in a highly susceptible group (immunosuppression, transplant recipients and heavy smokers)

  - Advise anyone susceptible on site about health awareness

  - Sampler may (very rarely) need to be trained to wear respiratory protective equipment (RPE) - anticipate through risk assessment

- General safety

  - Sampler should be trained in safe use of ladders and take appropriate safety precautions

  - If sampling in a home, sampler should wear personal protective equipment to avoid contact with or inhalation of insulation materials