# Indicative pre-departure Equipment and Materials checklist

| Personal protective equipment | Visibility jacket/vest |  |
| --- | --- | --- |
|  | Hard hat |  |
|  | Safety shoes |  |
|  | Disposable latex or equivalent gloves |  |
|  | Safety spectacles |  |
|  | Ear plugs |  |
|  | Disposable overalls |  |
|  | Step ladder |  |
|  | Possibly: respiratory protective equipment (RPE) |  |
| Sampling equipment | Torch and batteries |  |
|  | Sterile 1 litre sample containers or new plastic containers. These should contain 180 - 200mg sodium thiosulphate to neutralise any chlorine or equivalent neutralisation for other oxidising biocides. N.B. Some laboratories may require larger samples. |  |
|  | Sterile 2 litre bottles (in case split samples are required) |  |
|  | Equipment for taking swab samples and sediment samples |  |
|  | Camera |  |
|  | Tamper-proof tags and containers |  |
|  | Plastic bags - food grade, new |  |
|  | Scissors |  |
|  | Sterile disposable dip samplers or sterile reusable metal dip sampler or sterile siphoning sampling device for sampling tanks. |  |
|  | Assorted spanners and screwdrivers |  |
|  | Stop-watch |  |
|  | Electronic thermometer - calibrated and measuring from about 10°C to 1000C |  |
|  | Rubber bands |  |
|  | Cool box |  |
|  | Disposable paper tissues or towel |  |
|  | Discard bags |  |
|  | Plastic squeezy/wash bottle or suitable alternative containing a disinfectant solution of 1:10 dilution of sodium hypochlorite solution (bleach) or 75% ethyl or isopropyl alcohol |  |
|  | Alcohol wipes |  |
|  | Disposable overalls and other personal protective equipment |  |
|  | Sample request forms |  |
| Useful documentation | Maps |  |  |
|  | Site drawings |  |  |
|  | If possible, schematic of flow dynamics of the system being investigated |  |  |
|  | Site Legionella risk assessment |  |  |